Suggested Clauses to add to Appendix F: Radon Control Method

AF103.9 Testing of Passive Systems.  After final inspection, a radon test shall be conducted to determine the effectiveness of the system.  The Test shall be conducted by a qualified third party to insure its validity.  The system must test below the EPA action level of 4 pCi/L to pass.

AF103.10 Adding a Radon Fan.  In the event the Passive System fails the post inspection radon test (results are equal to or above the EPA action level of 4 pCi/L), a radon fan shall be installed creating an active system, according to EPA guidelines for installing active systems.

Suggested by Joshua Miller, Radon Officer, Division of Environmental Health, Minnesota

651-201-4621

joshua.miller@health.state.mn.us